## Slide 1: Phase II Presentation to ETWC – First Steps
Kenneth A. Kriz
June 7, 2023

## Slide 2: Phase II Study
Improved energy demand model – this presentation
Improved economic/labor force model – next presentation
Improved environmental metrics – final presentation

## Slide 3: Energy Demand Model

## Slide 4: ReEDS
The Regional Energy Deployment System (ReEDS) is NREL's flagship capacity planning model for the power sector
The model simulates the evolution of the bulk power system—generation and transmission—from present day through 2050 or later
It is a “mathematical programming model” of the electric power sector
Modules
  Supply module
  Demand module
  Variable renewable energy and storage module (VRE)

## Slide 5: How ReEDS Works

## Slide 6: ReEDS Regional Structure

## Slide 7: ReEDS Time Slices

## Slide 8: Technology Definitions – Wind Resource Classes

## Slide 9: Technology Definitions – UPV Resource Classes

## Slide 10: Results – Total Capacity - “Mid-Case” and “High Electrification Case” – Balancing Area p80 (Chicagoland & Northern Illinois)
Chart: Capacity (MW)
| 2024 | 2026 | 2028 | 2030 | 2035 | 2040 | 2045 | 2050
Mid-Case | 23791.8 | 24499.8 | 25207.2 | 33643.9 | 40399 | 51013.4 | 42902.3 | 51018.5
High Electrification | 23791.8 | 24562.4 | 27374.4 | 34974.1 | 41326.8 | 48400 | 48876.8 | 49551.3

## Slide 11: Results – Renewables Capacity – High Electrification Case – Balancing Area p80
Chart: Capacity (MW)
| 2024 | 2026 | 2028 | 2030 | 2035 | 2040 | 2045 | 2050
Rooftop PV | 365 | 787.4 | 1356.3 | 2072.7 | 2427 | 2465.8 | 2527 | 2634
Utility PV | 241.1 | 241.1 | 241.1 | 3550.8 | 7221.5 | 11148.3 | 17067.9 | 17128
Wind | 1973.2 | 1973.2 | 1973.2 | 3891.8 | 6228.7 | 8938.7 | 12556.3 | 13856.7
Battery | 132.4 | 480.6 | 2723.7 | 4731.5 | 4940.6 | 5338.2 | 7912.7 | 8021.7

## Slide 12: Coal Ash Impoundment Sites